## Slide 1: Electric Grid Demand Response

## Slide 2: Outline
Business context
Use cases
Constraints
Quality requirements
Software architecture
Satisfying requirements
Prepare for the next iteration

## Slide 3: Control demand
Electric and gas utilities experience varying demands depending on time of day and weather.
They wish to be able to control residential and industrial power consumption automatically based on signals from a central location.
This will reduce demand during periods of extreme demand and allow normal usage during other periods.

## Slide 4: Demand Response
Demand Response is defined as the temporary modification of customer energy usage.
A utility company will take actions to affect the energy usage of a customer. This may be
  Notification to reduce usage
  Notification that there is no need to reduce usage
  Notification of a price change that the customer can use to control usage

## Slide 5: Standard
OpenADR is a standard developed by utility companies to enable an interoperable market for DR functions.
MSE Ltd wants to enter the market as a gateway between an electric utility and their customers.

## Slide 6: Roles
Electric or gas utility
DR controller - a virtual representation of one or more assets or physical devices capable of shedding or managing load in response to a triggering event.
DR assets - end device capable of managing load – thermostats, solar panel. It may also be a device capable of being turned on or off remotely such as a dryer.

## Slide 7: Outline
Business context
Use cases
Constraints
Quality requirements
Software architecture
Satisfying requirements
Prepare for the next iteration

## Slide 8: UC 1 New asset added
A new asset is added to the system.
This asset must be recognized and controlled by the DR Controller
The DR Controller must inform the utility of its new capabilities

## Slide 9: UC 2 Asset fails or is removed
An asset fails or is removed from service.
The DR controller must recognize this and inform the utility of its current capabilities

## Slide 10: UC 3 DR Controller informs utility of its capabilities
Upon, initialization, the DR Controller must register with the controlling utility and periodically inform it of its capabilities.

## Slide 11: UC 4 Utility sends DR event
The utility sends a DR event that is received by the DR Controller
This event may be
  Reduce consumption
  No longer any need to reduce consumption
  Price change

## Slide 12: Outline
Business context
Use cases
Constraints
Quality requirements
Software architecture
Satisfying requirements
Prepare for the next iteration

## Slide 13: Constraints
All messages should be confirmed by the recipient
The DR controller must translate signals between the DR Assets and the utility

## Slide 14: Communication constraints
Open standards used for all communication to facilitate interoperability of DR controllers and DR Assets.
  HTTP over TLS
  XMPP

## Slide 15: Outline
Business context
Use cases
Constraints
Quality requirements
Software architecture
Satisfying requirements
Prepare for the next iteration

## Slide 16: Performance
Clock Accuracy – Services that are actionable based on specified date, time, and duration SHALL ensure that sufficient clock accuracy is maintained to provide timely response

## Slide 17: Security
Parties involved in any DR event SHALL be authenticated and authorized.
Command/message exchanged between parties involved in any DR event SHALL be secure from end to end.
Results of the DR event execution SHALL be auditable.
Authorization – Protected resources SHALL be authorized individually by the user(s) associated with those resources.

## Slide 18: Outline
Business context
Use cases
Constraints
Quality requirements
Software architecture
Satisfying requirements
Prepare for the next iteration

## Slide 19: Modules
Asset
DR controller
Message bus
Asset
Asset

## Slide 20: Asset software
This software controls each asset.
Each asset has its own software.

## Slide 21: DR event controller
This is the main controller for the DR software.
It communicates with the utility and with the individual assets.

## Slide 22: Message bus
This is a standard message bus.
It has a list of topics and receives messages on topics from the assets and the DR controller and publishes them to the subscribers to that topic.

## Slide 23: Allocation - Host
The host is where the DR Controller and Message Bus are allocated
It could be
  A distinct physical machine in the building where the assets are located
  A VM in the cloud.

## Slide 24: Outline
Business context
Use cases
Constraints
Quality requirements
Software architecture
Satisfying requirements
Prepare for the next iteration

## Slide 25: Steps to achieve UC 1
Asset registers with Message Bus. Sends descriptive information about its capabilities
DR controller subscribes to “asset registration” messages
DR Controller informs utility of change in overall capabilities.

## Slide 26: Steps to achieve UC 2
Asset periodically publishes “status” message
DR Controller subscribes to “status” message
If status message is not received by DR Controller from asset within set period it is marked out of service
DR Controller inform utility of new set of capabilities

## Slide 27: Steps to achieve UC 3
Upon, initialization, the DR Controller must register with the controlling utility and inform it of its capabilities.
It periodically informs utility of capabilities and resource usage

## Slide 28: Steps to achieve UC 4
The utility sends a DR event that is received by the DR Controller
This event may be
  Reduce consumption
  No longer any need to reduce consumption
  Price change
DR Controller determines actions of assets and informs assets of their actions

## Slide 29: Constraints
All messages should be confirmed by the recipient
  Assigned to each software module
The DR controller must translate signals between the DR Assets and the DR utility
  Assigned to DR Controller

## Slide 30: Communication constraints
Open standards used for all communication to facilitate interoperability of DR controllers and DR Assets.
  HTTP over TLS
  XMPP
Assigned to process steps

## Slide 31: Steps to achieve Performance
Clock Accuracy – Services that are actionable based on specified date, time, and duration SHALL ensure that sufficient clock accuracy is maintained to provide timely response
  Assigned to process steps

## Slide 32: Security
Parties involved in any DR event SHALL be authenticated and authorized.
  Every communication shall include authorization token
  Registration of DR Controller with utility shall be authenticated and authorized
  Registration of asset with DR controller shall be authenticated and authorized

## Slide 33: Security
Command/message exchanged between parties involved in any DR event SHALL be secure from end to end.
  Assigned to process steps
Results of the DR event execution SHALL be auditable.
  Assigned to DR Controller

## Slide 34: Security
Authorization – Protected resources SHALL be authorized individually by the user(s) associated with those resources.
  Assigned to DR Controller

## Slide 35: Outline
Business context
Use cases
Constraints
Quality requirements
Software architecture
Satisfying requirements
Prepare for the next iteration

## Slide 36: Process steps
Ensure assets can communicate using HTTPS or XMPP
Verify clock accuracy of host and assets
Determine authorization method – e.g. Kerberos
Define topics for message bus

## Slide 37: Requirements on Assets
On start up register with DR Controller
Periodically send status to DR Controller
Follow instructions from DR Controller
Ack all messages
Validate all instructions from DR Controller using authorization token

## Slide 38: Requirements on DR Controller
Register with utility on start up
Maintain registry of active assets and their capabilities
Receive instructions from utility with respect to load shedding, no load shedding, and price chainges

## Slide 39: Requirements on DR Controller
Periodically calculatedesired activity of each asset and inform asset of changes to their activities
Subscribe to appropriate topics with message bus

## Slide 40: Requirements on DR Controller
ACK all communications
Add authorization token to all communications
Have HMI for user to manually authorize addition of asset
Have HMI to display current status of DR events and assets
Maintain logs of DR events. Pass these logs periodically to a central repository

## Slide 41: Requirements on Message Bus
Receive and distribute messages on particular topics
Accept subscriptions to topics
Kafka is possible choice